To: The General Manger Engineering.

United Dairies Lanka Pvt Ltd.

Ambewela farm.

Ambewela.

BOQ For General Manager Quarters construction work

| ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | 9" thick brick wall, 9"x6" concrete column, 3" thick slab, cement bed, plastering, tiling, front side cement cut finish and interior putty and paint and all the finishing work. (Sink area and gas cooker fixing area) | 1.00 | Sum | 148,000.00 | 148,000.00 |
| 2 | constructing roof frame using box bars, welding work, installation of poli carbonate clear sheet and finishing the work. | 228 | Sq/ft | 210.00 | 47,880.00 |
|  | Grand Total |  |  |  | 195,880.00 |

@2026/02/16