To: Mr. Bandula, Pilimathalawa, Kandy.

BOQ For Tiling and bathroom finishing work

| ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply and laying tile mortar, apply Floor tiles, cutting and grouting and all the necessary work. | 4532 | Sq/ft | 280 | 1,268,960.00 |
| 2 | Supply and laying tile mortar, apply wall tiles, cutting and grouting and all the necessary work. | 821 | Sq/ft | 380 | 311,980.00 |
| 3 | Bathroom plumbing work including Supply and laying PVC pipes, hot water pipes, plumbing accessories, bath ware and bathroom finishing work. (bath ware and accessories supplied by client, plumbing work only in bathroom area) | 3 | Item | 90,000.00 | 270,000.00 |
| 4 | Plumbing work Laying from water tank to bathroom, waste water from bathroom to gully. (measure and pay method) |  |  |  |  |
|  | 4" thick PVC | 0 | L/ft | 950 | 0.00 |
|  | 1 1/2" thick PVC | 0 | L/ft | 550 | 0.00 |
|  | 1/2" thick PVC | 0 | L/ft | 340 | 0.00 |
|  | Grand Total |  |  |  | 1,850,940.00 |

@2026-02-15